## Sheet1
S.No | ID Code | Name | Range | Location | Frequency | Last Calibration Date | Due Date | Status | Item Status | Part No | Serial No | Least Count | Make | Item Type | LOCATION-1 | Calibration Source | Customer | Sector | Criticality Level | Cert. No. | Remarks | Gauge Issue Date | Gauges Received By | Gauges Issued By | Calibration Procedure | Traceable
1243 | TW004/02 | TORQUE WRENCH | 0-100NM | LAB | 6 MONTH | 2026-03-10 | 2026-09-10 | OK | Under Repair | * | 326662J |  | TOHNICHI | MANUVALE | STD ROOM | Inhouse-Instruments | LAB | Automotive | [5 empty] | GOWRI |  | NABL
1590 | TW031/04 | TORQUE WRENCH | 10-50Nm | M&M Plant | 6 MONTH | 2026-03-27 | 2026-09-27 | OK | Active | IFC977M2 | QSPLS50N3 - 143428N |  | TOHNICHI | ANALOG | IFC977M2 | Inhouse-Instruments | M&M | Automotive |  |  |  | 2026-03-27 | THENNAPPAN | Pavi
3 | SPG632/01 | SPECIAL GAUGE | SUMPFACE HEIGHT | MSIL Plant | 6 MONTH | 2025-03-21 | 2025-09-21 | Overdue | Stock | OP491 | - | NA | * | attribute | ASSEMBLY | Inhouse-Gauges | MSIL | Automotive | [5 empty] | GOWRI |  | NABL
4 | CMM002 | CO ORDINATE MEASURING MACHINE | 600x800x500 | LAB | 24 MONTH | 2023-09-30 | 2025-09-29 | Overdue | Active | GM-CMM | 1712 | 0.0001mm | Spectra CNC | DIGITAL | GM-CMM | EXTERNAL CAL | LAB |  | Critical | [6 empty] | OEM
1239 | TW036 | TORQUE WRENCH | 0-6Nm | Fuel Pump | 6 MONTH | 2026-03-10 | 2026-09-10 | OK | Active | FP89&FP104 |  |  | TOHNICHI | ANALOG | FP89&FP104 | Inhouse-Instruments | Fuel Pump | Automotive |  |  |  | 2026-03-10 | RAVI | GOWRI
3488 | TW073 | TORQUE WRENCH | 10-50 Nm | M&M Plant | 6 MONTH | 2026-07-29 | 2027-01-29 | OK | Under Repair | OP772/890 | 090148C-0.5Nm |  | TOHNICHI | PQLLS50N | ASSEMBLY | Inhouse-Instruments | M&M | Automotive | [5 empty] | GOWRI |  | NABL