## Sheet2
P.Sl.No | Items Status | IMTE | Description | RANGE | Items Sl.No / Model | Item Make | Least Count | Item Type | PART NO | Part Name | Item Location | Moudle | Calibration Source | CALIB. FREQUENCY in month | Last Cal. Date | Next Cal. Date | Calibration Status | Remarks | Gauge Issue Date | Gauges Received By | Gaues Issued By | Customer | Sector | Criticality Level | Calibration Procedure& Ref Std | Service Provider | Traceable | Cert. No. | Is Reference Standard
1 | Active | PG649/02 | PLUG GAUGE | 34.800/35.000 | * | * | NA | attribute | OP989 | OP989 | AL ASSEMBLY | M&M Plant | Inhouse-Gauges | 6 MONTH | 2026-01-18 | 2026-07-18 | OVER DUE |  |  | Pavi | Pavi | M&M | Automotive
2 | Active | CCG014/01 | CONCENTRICITY GAUGE | 20.830/18.010 | * | * | NA | attribute | OP989 | OP989 | AL ASSEMBLY | M&M Plant | Inhouse-Gauges | 2 MONTH | 2026-03-07 | 2026-05-07 | OVER DUE |  |  | Manivannan.C | Pavi | M&M | Automotive
3 | Active | PG658/01 | PLUG GAUGE | 20.800/20.852 | * | * | NA | attribute | OP989 | OP989 | M&M | M&M Plant | Inhouse-Gauges | 6 MONTH | 2026-01-09 | 2026-07-09 | OVER DUE |  |  | Manivannan.C | Pavi | M&M FARM | Non Automotive
4 | Active | PG589/02 | PLUG GAUGE | 19.900/20.100 | * | * | NA | attribute | OP989 | OP989 | AL ASSEMBLY | M&M Plant | Inhouse-Gauges | 6 MONTH | 2026-01-18 | 2026-07-18 | OVER DUE |  |  | Manivannan.C | Pavi | M&M | Automotive
5 | Active | PG705/01 | PLUG GAUGE | 41.500/41.700 | * | * | NA | attribute | OP989 | OP989 | AL ASSEMBLY | M&M Plant | Inhouse-Gauges | 6 MONTH | 2026-01-18 | 2026-07-18 | OVER DUE |  |  | Pavi | Pavi | M&M | Automotive
6 | Active | PG824/02 | PLUG GAUGE | 32.100/31.900 | * | * | NA | attribute | OP989 | OP989 | AL ASSEMBLY | M&M Plant | Inhouse-Gauges | 6 MONTH | 2026-01-18 | 2026-07-18 | OVER DUE |  |  | Pavi | Pavi | M&M | Automotive
7 | Active | SPG952/01 | SPECIAL GAUGE | SUMP FACE HEIGHT | * | * | NA | attribute | OP989 | OP989 | AL ASSEMBLY | M&M Plant | Inhouse-Gauges | 6 MONTH | 2026-01-01 | 2026-07-01 | OVER DUE |  |  | Pavi | Pavi | M&M | Automotive
8 | Active | CCG059/01 | CONCENTRICITY GAUGE | 52.000/61.928 | * | * | NA | attribute | OP772 | OP772 | M&M M/C SHOP | M&M Plant | Inhouse-Gauges | 6 MONTH | 2026-01-28 | 2026-07-28 | DUE SOON |  |  | Pavi | Pavi | M&M | Automotive
9 | Active | DI828 | DIAL INDICATOR | 0.010 ~10.000 mm | 0.01MM | MITYTOYO |  | ANALOG | OP989 | M&M | ASSY | M&M Plant | Inhouse-Instruments | 6 MONTH | 2026-01-04 | 2026-07-04 | OVER DUE |  | 2025-07-04 | Pavi | Pavi | M&M Plant | Automotive
10 | Active | SPG953/01 | SPECIAL GAUGE | SUMP FACE HEIGHT | * | * | NA | attribute | OP989 | OP989 | AL ASSEMBLY | M&M Plant | Inhouse-Gauges | 6 MONTH | 2026-01-01 | 2026-07-01 | OVER DUE |  |  | Pavi | Pavi | M&M | Automotive | [5 empty] | yes
Formulas:
Calibration Status = IF(ISBLANK([Next Cal. Date]),"NO PLAN",IF([Next Cal. Date]<TODAY(),"OVER DUE",IF([Next Cal. Date]<=TODAY()+3,"DUE SOON","OK")))