## PP (T)
CALIBRATION CERTIFICATE
PLANT 2
NABL ACCREDITATION
CERTIFICATE NO.C0452
| CUSTOMER | [6 empty] | INSTRUMENT |  |  |  | PLAIN PLUG GAUGE
80 | [7 empty] | MAKE |  |  |  | MERC
| FALSE | [6 empty] | RANGE / LC |  |  |  | GO: | 2.85 | NOGO: | 3.15
| FALSE | [6 empty] | DATE OF CALIBRATION |  |  |  | 17.08.2011
[8 empty] | INSTRUMENT CODE |  |  |  | 10006422
[8 empty] | SANSERA LAB ID NO |  |  |  | IWPP08081123
[8 empty] | REPORT NO |  |  |  | PP17081101
MASTER EQUIPMENT DETAILS | [7 empty] | TRACEABILITY
1) MASTER GAUGE BLOCKS SET Make : Mikronix Code: | [7 empty] | 1)Traceable to National Standards through NABL
SGB-10024268 (Calibrated at Mikronix Lab Aurangabad) | [7 empty] | Accreditation Lab.No:C0057 Vide Certificate No:
5434 Valid upto June 2013
2)DIAL COMPARATOR STAND Make : Jafuji | [7 empty] | 2)Traceable to National Standards through NABL
Code:CS-10016733 (Calibrated at Vasals Lab Bangalore) | [7 empty] | Accreditation Lab.No:C0445 Vide Certificate No:
2012/VML/0656 Valid upto April 2013
3)DIAL INDICATOR Make : Mahr Code:DI-10030532 | [7 empty] | 3)Traceable to National Standards through NABL
(Calibrated at CMTI Lab Bangalore) | [7 empty] | Accreditation Lab.No:C0224 Vide Certificate No:
12/53/01/352-L/3/187 Valid upto July 2013
EXPANDED UNCERTAINTY : ±2.0µm ( The uncertainty of measurement is expressed at 95% Confidence with | [15 empty] | 54.7
|  |  | coverage factor K-1.96) | [12 empty] | 53.6
CALIBRATION PROCEDURE :Expression of the Gauge error was done on Dial comparator stand with the Supramess | [15 empty] | 55.4
54.5667
ENVIRONMENTAL CONDITIONS |  |  |  | TEMP |  |  | 20 ± 2° C |  |  | RH |  |  | 50 ± 15%
|  |  |  | ACTUAL |  |  | 19.90° C |  |  | ACTUAL |  |  | 54.57%
CALIBRATION RESULTS
|  | DESCRIPTION | GAUGE SPECIFICATION |  | T1 | T2 | T3 | T4 | T5 | AVERAGE |  | STANDARD DEVIATION |  |  |  |  | 8.3153 | 8.3127
|  | GO (MAX) | 4.89 |  | 8.314 | 8.314 | 8.314 | 8.3135 | 8.314 | 8.3139 |  | 0.0002 |  |  |  |  | 8.3291 | 8.3267
|  | GO (MIN) | 4.89 |  | 8.311 | 8.3105 | 8.3105 | 8.3105 | 8.3105 | 8.3106 |  | 0.0002
|  | NOGO (MAX) | 4.95 |  | 8.331 | 8.331 | 8.3305 | 8.3305 | 8.3305 | 8.3307 |  | 0.00024495
|  | NOGO (MIN) | 4.95 |  | 8.33 | 8.3295 | 8.3295 | 8.3295 | 8.33 | 8.3297 |  | 0.00024495
Balachandar M.
|  | Calibrated By | [5 empty] | Lab Incharge | [8 empty] | Sivasubramaniam S.
|  | Name |  |  | Balachandar M. |  |  | Name |  |  | Nanda Kumar K. | [5 empty] | Manjesha B.M.
NOTE :1)The results given in Calibration Certificate are valid only to the particular instrument submitted for calibration under the above stated condition, certificate shall not be reproduced with out the written permission of the Laboratory | [16 empty] | Sathisha K.M.
Gopi V.
2) Calibration Results are in mm
SANSERA ENGINEERING (P) LTD.
261/C, Bommasandra Industrial Area , Hebbagodi Post , Anekal Taluk, Bangalore -560 099
Ph:080-7833442 / 7833056 / 7835461-64, Fax : 080-7833642
E-mail id : sansera@vsnl.com,calib@sanseraindia.com

## PPG (R)
CALIBRATION CERTIFICATE
PLANT 2
KRISHNA
| CUSTOMER |  |  |  |  | INSTRUMENT |  |  | SNAP GAUGE |  |  |  |  | PLAIN PLUG GAUGE
110 | SANSERA ENGINEERING LTD PLANT 11 |  |  |  |  | MAKE |  |  | DGT |  |  |  |  | MERC
| BIDADI INDUSTRIAL AREA PLOT NO 48,PHASE 2, |  |  |  |  | RANGE /LC |  |  | GO: | 31.2 | NOGO: | 30.8 |  | MGPL
| SECTOR 2 RAMANAGARA DISTRICT |  |  |  |  | INSTRUMENT CODE |  |  | 10145637 |  |  |  | 8 | UNIK
[6 empty] | DATE OF CALIBRATION |  |  | 2025-01-31 |  |  |  |  | UNIK
[6 empty] | DATE OF ISSUE |  |  | 2025-02-01 |  |  |  |  | TECHNO
DATE OF RECEIPT |  |  | 2025-01-30 |  |  | SANSERA LAB ID NO |  |  | IWSG300125209 |  |  |  |  | PROG PLUG GAUGE
CUSTOMER' REFERENCE |  |  | DC No.: 1201090211 |  |  | CERTIFICATE NO |  |  | SAN/25/01/3951 |  |  |  | 14
DECIPLINE |  |  | MECHANICAL DIMENSION |  |  | ULR NO |  |  | ~ |  |  |  | 1 | DGT
GROUP |  |  | BASIC INSTRUMENT & GAUGE |  |  | PLACE OF CALIBRATION |  |  | METROLOGY LAB
MASTER EQUIPMENT DETAILS | [5 empty] | TRACEABILITY
1) MASTER GAUGE BLOCKS SET Make : Mikronix Code: | [5 empty] | 1)Traceable to National Standards through NABL | [7 empty] | DC No.: 1201080981
SGB-10073420 (Calibrated at Mikronix Lab Aurangabad) | [5 empty] | Accreditation Lab. No:CC-2102 Vide Certificate No: | [7 empty] | ULR-CC239920000012294F
[6 empty] | SG 4109 Valid up to |  | 2026-01-02
2025-05-20
CALIBRATION PROCEDURE : Expression of Gauge Error was done by Gauge Blocks. As per SWI/LAB/011 | [13 empty] | 48.2 | 19.9
[14 empty] | 47.2 | 19.8
ENVIRONMENTAL CONDITIONS |  |  | TEMP |  | 20 ± 2° C |  | RH |  |  | 50 ± 10% |  |  |  | 48.2 | 19.9
|  |  | ACTUAL |  | 19.8667 |  | ACTUAL |  |  | 47.87% |  |  |  | 47.8667 | 19.8667
CALIBRATION RESULTS
|  | DESCRIPTION |  | GAUGE SPECIFICATION |  | OBSERVED READINGS (MAX) |  | OBSERVED READINGS (MIN)
|  | GO |  | 31.2 |  | 31.193 |  | 31.191 | [5 empty] | -0.007 | -0.009
|  | NOGO |  | 30.8 |  | 30.801 |  | 30.8 | [5 empty] | 0.001 | 0
EXPANDED UNCERTAINTY : ±2.7µm ( The uncertainty of measurement is expressed at 95.45% Confidence with coverage factor K-2)
Bend Observed On 'Go' & 'No Go' Side
Scratch Marks Observed On 'Go' Side
Found OK
|  | Calibrated By |  |  |  | Authorized By | [8 empty] | Damage Observed On 'Go' Side
|  | Name |  | Uday. |  | Name |  | Sivasubramaniam S. | [5 empty] | Balachandar M.
NOTE :1)The results given in Calibration Certificate are valid only to the particular instrument submitted for calibration | [13 empty] | Sivasubramaniam S.
under the above stated condition, certificate shall not be reproduced with out the written permission of the Laboratory | [13 empty] | Manjesha B.M.
2)Calibration Results are in "mm" | [13 empty] | Byresha B.S
3)Condition of the MI / Gauges as Received.: Found OK | [13 empty] | Mahadevappa.
METROLOGY LABORATORY, SANSERA ENGINEERING LTD. | [13 empty] | Gopi V.
261/C, Bommasandra Industrial Area, Hebbagodi Post, Anekal Taluk, Bangalore -560 099 | [13 empty] | Uday.
Ph:080-7833442 / 7833056 / 7835461-64, Fax : 080-7833642
E-mail id : calib@sansera.in , Nabl_calib@sansera.in
***End of Certificate***