## VC (0-150)
CALIBRATION CERTIFICATE
PLANT 2
| CUSTOMER | [5 empty] | INSTRUMENT |  |  |  | VERNIER CALIPER |  |  | MITUTOYO
110 | SANSERA ENGINEERING LTD PLANT 11 | [5 empty] | MAKE |  |  |  | MITUTOYO |  |  | MAHR
| BIDADI INDUSTRIAL AREA PLOT NO 48,PHASE 2, | [5 empty] | RANGE /LC |  |  |  | 0-150 / 0.02mm |  |  | TESPA
| SECTOR 2 RAMANAGARA DISTRICT | [5 empty] | INSTRUMENT CODE |  |  |  | 10095270 |  |  | INSIZE
[7 empty] | DATE OF CALIBRATION |  |  |  | 2024-11-18 |  |  | INSIZE
[7 empty] | DATE OF ISSUE |  |  |  | 2024-11-19
DATE OF RECEIPT |  |  |  | 2024-11-16 |  |  | SANSERA LAB ID NO |  |  |  | IWVC161124292 |  | 13
CUSTOMER' REFERENCE |  |  |  | DC No.: 1201083773 |  |  | CERTIFICATE NO |  |  |  | SAN/24/11/2355 |  | 14
DECIPLINE |  |  |  | MECHANICAL DIMENSION |  |  | ULR NO |  |  |  | ULR-CC239924000041947F
GROUP |  |  |  | BASIC INSTRUMENT & GAUGE |  |  | PLACE OF CALIBRATION |  |  |  | METROLOGY LAB |  | 13
MASTER EQUIPMENT DETAILS | [6 empty] | TRACEABILITY
1)STEEL CALIPER CHECKER(0-300mm) Make :Mikronix | [6 empty] | 1)Traceable to National Standards through NABL
Code:CC:10003442 (Calibrated at In house Lab) | [6 empty] | Accreditation Lab. No:CC-2399 Vide Certificate No:
[7 empty] | SAN/23/02/2158 Valid up to 16-02-2025 | [8 empty] | 24.02.21 |  | 413
2) MASTER GAUGE BLOCKS SET Make : Mikronix Code: | [6 empty] | 2)Traceable to National Standards through NABL | [6 empty] | 2024-11-28
SGB-10073420 (Calibrated at Mikronix Lab Aurangabad) | [6 empty] | Accreditation Lab. No:CC-2102 Vide Certificate No:
[7 empty] | SG 4109 Valid up to |  |  | 2026-01-02 | [5 empty] | 02.06.21
3) MASTER GAUGE BLOCKS SET Make : Mikronix Code: | [6 empty] | 3)Traceable to National Standards through NABL
SGB-10034704 (Calibrated at Mikronix Lab Aurangabad) | [6 empty] | Accreditation Lab. No:CC-2102 Vide Certificate No: | [6 empty] | 20.5 | 55.3 | 15.07.21
[7 empty] | SG 3821 Valid up to |  |  | 2025-04-25 |  |  |  | 20.5 | 54.3
CALIBRATION PROCEDURE :Expression of instrument error was done on different steps of Step gauge (Caliper checker) | [13 empty] | 20.4 | 53.4
|  |  |  | This Method is based on IS:16491(PART-1)-2016 As per SWI/LAB/013 | [9 empty] | 20.4 | 53.4
ENVIRONMENTAL CONDITIONS |  |  |  | TEMP |  | 20 ± 2° C |  |  | RH |  |  | 50 ± 10%
|  |  |  | ACTUAL |  | 20.4 |  |  | ACTUAL |  |  | 53.4%
| A) PARALLELISM OF EXTERNAL MEASURING FACES AT 10mm : | [7 empty] | 0.006
| B) PARALLELISM OF INTERNAL MEASURING FACES AT 16mm : | [7 empty] | 0.007
C) INSTRUMENTAL ERROR OF EXTERNAL MEASUREMENT:
|  |  | SLIP SIZE |  |  | 0 | 20.02 | 50 | 100 | 130 | 150
|  |  | OBSERVED READING |  |  | 0 | 20.02 | 50 | 100 | 130 | 150 | [5 empty] | ACTUAL
|  |  | ERROR |  |  | 0 | 0 | 0 | 0 | 0 | 0
D) INSTRUMENTAL ERROR OF INTERNAL MEASUREMENT:
|  |  | SLIP SIZE |  |  | 0 | 20 | 50 | 100 | 120 | 150
|  |  | OBSERVED READING |  |  | 0 | 20 | 50 | 100 | 120 | 150
|  |  | ERROR |  |  | 0 | 0 | 0 | 0 | 0 | 0
NOTE : *Dents Observed on the edge of the Internal Jaws
| E) INSTRUMENTAL ERROR OF DEPTH MEASUREMENT : | [13 empty] | *Parallelism Error of Internal Measuring Faces was Measured by Leaving 3mm from edge.
|  |  | SLIP SIZE |  |  | 20 | 50 | 100 | [6 empty] | *NOTE : Display Problem found on 150mm Range so not Calibrated at 150mm range.
|  |  | OBSERVED READING |  |  | 20.02 | 50.02 | 100.02 | [6 empty] | 3)Condition of the MI / Gauges as Received.: Found OK
|  |  | ERROR |  |  | 0.02 | 0.02 | 0.02 | [6 empty] | 4) Parallelism of External jaws & Internal jaws was not measured due to non availability of locking Device
EXPANDED UNCERTAINTY : ±13.0µm ( The uncertainty of measurement is expressed at 95.45% Confidence with coverage factor K-2)
|  | Calibrated By |  |  |  |  | Authorized By
|  | Name |  |  | Byresha B.S |  | Name |  |  | Sivasubramaniam S. |  |  |  | Balachandar M.
NOTE :1)The results given in Calibration Certificate are valid only to the particular instrument submitted for calibration | [13 empty] | Sivasubramaniam S.
under the above stated condition, certificate shall not be reproduced with out the written permission of the Laboratory | [13 empty] | Manjesha B.M.
2) Calibration Results are in mm | [13 empty] | Byresha B.S
3)Condition of the MI / Gauges as Received.: Found OK | [13 empty] | Gopi V.
METROLOGY LABORATORY, SANSERA ENGINEERING LTD. | [13 empty] | Dy. Lab In Charge
261/C, Bommasandra Industrial Area, Hebbagodi Post, Anekal Taluk, Bangalore -560 099 | [13 empty] | Mahadevappa.
Ph:080-7833442 / 7833056 / 7835461-64, Fax : 080-7833642 | [13 empty] | Uday.
E-mail id : calib@sansera.in , Nabl_calib@sansera.in
***End of Certificate***
CC-2399