## Template
S.No | NAME OF INSTRUMENT | ID CODE | RANGE | SERIAL NO | LEAST COUNT | LOCATION | CALIBRATION FREQUENCY | LAST CALIBRATION DATE | DUE DATE | CALIBRATION AGENCY AND TC No | STATUS | ITEM STATUS | Item Make | Item Type | PART NO | Part Name | Module | Calibration Source | Customer | Sector | Criticality Level | Cert. No. | Remarks | Gauge Issue Date | Gauges Received By | Gauges Issued By | Calibration Procedure& Ref Std | Traceable
001 | Vernier Caliper | VC-001 | 0-150mm | SN123456 | 0.02mm | Lab 1 | 12 MONTH | 2024-01-10 | 2024-07-10 | ABC Labs - TC123 | OK | Active | Mitutoyo | Mechanical | PN-001 | Slide | MOD1 | External | Acme Corp | Manufacturing | High | CERT-001 | Tested okay | 2024-01-01 | John Doe | Jane Doe | ISO 9001 | NABL